## MCC Schedule
Bucket Position | Motor Tag | Driven Equipment | HP / kW | Voltage | FLA | Starter Type | Starter Class | Breaker Rating | Overload Setting | Control Method | Lockout Reference
MCC-1 / 1A | M-101 | P-101 | 75 HP | 480V | 92A | FVNR | NEMA 2 | 100A | 90A | DCS | MCC-1 disconnect 1A
Drag a P&ID at tagsight.io to fill this automatically